## Sheet1
Section | Question Title | Question Type | Options (if any) | Is Required?
Main Section | Global ID | TEXT |  | No
Main Section | Site Name | TEXT |  | No
Main Section | Cluster | LIST | Hyderabad-1, Hyderabad-2, Kurnool, Tirupathi, Warangal | No
Main Section | Service Engineer Name | TEXT |  | No
Main Section | Date | DATE |  | No
Main Section | Service Type | MULTIPLE_CHOICE | Full Service, TOP UP | No
Engine Details | Make of Generator | MULTIPLE_CHOICE | Mahindra, Kirloskar, Eicher, Cummins, Ashok Leyland | No
Engine Details | Capacity of Generator | MULTIPLE_CHOICE | 10 KVA, 15 KVA, 20 KVA, 25 KVA, 30 KVA, 32.5 KVA, 40 KVA, 62.5 KVA, 75 KVA, 125 KVA | No
Engine Details | Phase of Generator | MULTIPLE_CHOICE | 1 Phase, 3 Phase | No
Engine Details | Generator Engine Model No | TEXT |  | No
Engine Details | Generator Engine Serial No | TEXT |  | No
Engine Details | DG Engine Name plate Photo | FILE_UPLOAD |  | No
Alternator Details | Make of Alternator | TEXT |  | No
Alternator Details | Capacity of Alternator | MULTIPLE_CHOICE | 10 KVA, 15 KVA, 20 KVA, 25 KVA, 30 KVA, 32.5 KVA, 40 KVA, 62.5 KVA, 75 KVA, 125 KVA | No
Alternator Details | Alternator Phase | MULTIPLE_CHOICE | 1 Phase, 3 Phase | No
Alternator Details | Alternator Model | TEXT |  | No
Alternator Details | Alternator Serial | TEXT |  | No
Alternator Details | Alternator Name plate Photo | FILE_UPLOAD |  | No
Engine Check Points | Photos of new Spares Utilizing | FILE_UPLOAD |  | No
Engine Check Points | DG Hour meter functionality | MULTIPLE_CHOICE | Working, Faulty, Not Available | No
Engine Check Points | DG Hour Meter photo | FILE_UPLOAD |  | No
Engine Check Points | DG Hour meter Reading | TEXT |  | No
Engine Check Points | Any Lube oil leakage from engine | MULTIPLE_CHOICE | Yes, No | No
Engine Check Points | Lubricant oil level Filled Qty | TEXT |  | No
Engine Check Points | Lubricant oil level after filling NEW oil | MULTIPLE_CHOICE | L, M, H | No
Engine Check Points | Lubricant Oil filter | LIST | Replaced with New, Cleaned existing | No
Engine Check Points | Diesel filter | LIST | Replaced with New, Cleaned existing | No
Engine Check Points | Air Filter | MULTIPLE_CHOICE | Replaced with New, Cleaned existing, Faulty Need to replace | No
Engine Check Points | V-Belt | LIST | Good, Damaged | No
Engine Check Points | Fuel inlet Pipe | LIST | Good, Replaced, Leakage need to replace | No
Engine Check Points | Fuel Outlet Pipe | LIST | Good, Replaced, Leakage need to replace | No
Alternator Check Points | Alternator Phase Output Voltages in Volts | TEXT |  | No
Alternator Check Points | Alternator Phase Output Current in amps | TEXT |  | No
Alternator Check Points | Alternator Output Frequency in HZ | TEXT |  | No
Alternator Check Points | Check Alternator Terminal tighten | LIST | Ok, Not ok | No
Alternator Check Points | Alternator Body earthing | LIST | Connected, Not Connected | No
Alternator Check Points | Generator Body earthing | LIST | Connected, Not Connected | No
General Check Points | Radiator Condition | LIST | Good, Cleanned, Radiator Leakage, Radiator Non reparable | No
General Check Points | Any Coolant Leakage from radiator | LIST | No Lekage, Leakage | No
General Check Points | Radiator Coolant Level | LIST | Ok, Not Ok | No
General Check Points | Radiator Coolant Top-up status | LIST | Done, not done | No
General Check Points | Radiator Coolant Top-up Qty in Ltrs | TEXT |  | No
General Check Points | Radiator Pressure Cap (Rubber & Spring) | LIST | Ok, not Ok | No
General Check Points | Condition of diesel tank | LIST | Good, Rusted, Leakage | No
General Check Points | Self-Motor Working Condition | LIST | Working, Not Working, Not Available | No
General Check Points | Turbocharger / Dynamo Working | LIST | Working, Not Working, Not Available | No
General Check Points | Stop Solenoid Working Condition | LIST | Working, Not Working, Option 3 | No
General Check Points | LLOP Sensor working status | LIST | Working, Not Working, Not available | No
General Check Points | HWT Sensor working status | LIST | Working, Not Working, Not Available | No
General Check Points | DG Door hinges | LIST | Good, Faulty | No
General Check Points | DG Door Lock | LIST | Working, Not Working, Faulty | No
General Check Points | DG Canopy Condition | LIST | Good, Rusted, Damaged | No
General Check Points | DG Over all cleaning status Inside & Outside | LIST | Done, Not done | No
General Check Points | DG cleaning Photos Inside & Outside | FILE_UPLOAD |  | No
General Check Points | DG automation | LIST | Auto, Manual | No
General Check Points | If Auto DG running Logical parameter | LIST | VDC, Time delay, Manual | No
General Check Points | If DG not Manual Mode Major reason for that | TEXT |  | No
General Check Points | DG Battery or Cranker Available / Not Available | LIST | Available, Not Available | No
General Check Points | DG Battery charger Working status | LIST | Working, Not Working, Not Available | No
General Check Points | DG Battery / Cranker Photo | FILE_UPLOAD |  | No
General Check Points | DG Battery charger Output voltage | TEXT |  | No
General Check Points | Run the DG 30 minutes check If any Remarks | TEXT |  | No
General Check Points | DG Running Alarm Reported Status | LIST | Reported, Not Reported | No
General Check Points | If Not Reported reason | TEXT |  | No
General Check Points | OLD Oil Removed Qty | TEXT |  | No
General Check Points | Old Sparse Photos | FILE_UPLOAD |  | No